Sample Prep

98 coral tissue samples were prepared in three separate batches of 31, 31 and 36 samples, respectively. Aqueous metabolites for targeted LC-MS analysis were extracted using a protein precipitation method like the one described elsewhere (1,2,3,4). 1 mL of 80:20 methanol/water was added to frozen coral tissue samples suspended in water (methanol containing two reference isotope-labeled standards, 5C13-Glucose and 2C13-Glutamic Acid). Afterwards samples were vortexed, stored for 30 minutes at -20 ˚C, sonicated in an ice bath for 10 minutes, centrifuged for 15 min at 14,000 rpm and 4 ˚C, and then 600 µL of supernatant was collected from each sample. Lastly, recovered supernatants were dried on a SpeedVac and reconstituted in 0.5 mL of LC-matching solvent containing 17.8 µM 2C13-tyrosine and 39.2 3C13-lactate (reference internal standards were added to the reconstituting solvent to monitor LC-MS performance). Samples were transferred into LC vials and placed into a temperature-controlled autosampler set at 4 ˚C for LC-MS analysis.

LC-MS Assay

Targeted LC-MS metabolite analysis was performed on a duplex-LC-MS system composed of two Shimadzu UPLC pumps, CTC Analytics PAL HTC-xt temperature-controlled auto-sampler and AB Sciex 6500+ Triple Quadrupole MS equipped with ESI ionization source (1,2,3,4). UPLC pumps were connected to the auto-sampler in parallel and were able to perform two chromatography separations independently from each other. Each sample was injected twice on two identical analytical columns (Waters XBridge Premier BEH Amide 2.1 x 150mm, P/N 186009930) performing separations in hydrophilic interaction liquid chromatography (HILIC) mode. While one column was performing separation and MS data acquisition in ESI+ ionization mode, the other column was getting equilibrated for sample injection, chromatography separation and MS data acquisition in ESI- mode. Each chromatography separation was 16 minutes (total analysis time per sample was 32 minutes). MS data acquisition was performed in multiple-reaction-monitoring (MRM) mode. LC-MS system was controlled using AB Sciex Analyst 1.6.3 software. Measured MS peaks were integrated using AB Sciex MultiQuant 3.0.3 software. The LC-MS assay was targeting 373 metabolites (plus four spiked stable isotope-labeled internal standards). Up to 188 metabolites and four spiked standards were measured in the study samples. In addition to the study samples, two sets of quality control (QC) samples were used to monitor the assay performance as well as data reproducibility. One QC [QC(I)] was a pooled human serum sample used to monitor system performance, and the other QC [QC(S)] was pooled study samples, and this QC was used to monitor data reproducibility. The data was well reproducible with a median inter-day CV of 8.8% (11 QC injections over 3-day period of non-stop data acquisition based on measured MRM peak areas without any MS signal normalization). Generated MS data was normalized using BCA total protein count.

- Zhu W, Lusk JA, Pascua V, Djukovic D, Raftery D. Combination of low glucose and SCD1 inhibition impair cancer metabolic plasticity and growth in MCF-7 cancer cells: a comprehensive metabolomic and lipidomic analysis. Metabolomics. 20(5):112. 2024.

- Mhatre KN, Murray JD, Flint G, McMillen TS, Weber G, Shakeri M, Tu AY, Steczina S, Weiss R, Marcinek DJ, Murry CE, Raftery D, Tian R, Moussavi-Harami F, Regnier M. dATP elevation induces myocardial metabolic remodeling to support improved cardiac function. J Mol Cell Cardiol.175:1-12. 2022

- Kurup K, Matyi S, Giles CB, Wren JD, Jones K, Ericsson A, Raftery D, Wang L, Promislow D, Richardson A, Unnikrishnan A. Calorie restriction prevents age-related changes in the intestinal microbiota. Aging (Albany NY). 13(5):6298-6329. 2021.

- Meador JP, Bettcher LF, Ellenberger MC, Senn TD. Metabolomic profiling for juvenile Chinook salmon exposed to contaminants of emerging concern. Science Total Environ. 747:141097, 2020.